## Instrument-Index-Example
Tag | Instrument Type | Location | Description | Manufacturer | Model/Serial Number | Calibration Details | Status | Remarks/Comments | Documentation Reference
LT-101 | Level Transmitter | Reactor 1 | Level Transmitter for Reactor 1 | ABC Instruments | LT-101-12345 | Last Calibrated: 2023-01-15 | Operational | Installed on 2022-12-01 | /docs/instruments/LT-101
PT-101 | Pressure Transmitter | Reactor 1 | Pressure Transmitter for Reactor 1 | XYZ Sensors | PT-101-67890 | Last Calibrated: 2023-02-20 | Operational | -- | /docs/instruments/PT-101
TT-101 | Temperature Transmitter | Reactor 1 | Temperature Transmitter for Reactor 1 | 123 Sensors | TT-101-98765 | Last Calibrated: 2023-03-10 | Under Maintenance | Calibration due soon | /docs/instruments/TT-101
FT-101 | Flow Transmitter | Reactor 1 | Flow Transmitter for NaOH Flow to Reactor 1 | FlowTech | FT-101-54321 | Last Calibrated: 2023-01-30 | Operational | -- | /docs/instruments/FT-101
HSV-101 | Pneumatic On/Off Valve | Reactor 1 | Valve for NaOH Dosing in Reactor 1 | ValveCo | HSV-101-13579 | Last Calibrated: 2023-02-15 | Operational | "Fail-Close" on power failure | /docs/instruments/HSV-101
LT-102 | Level Transmitter | Reactor 2 | Level Transmitter for Reactor 2 | ABC Instruments | LT-101-12345 | Last Calibrated: 2023-01-15 | Operational | Installed on 2022-12-01 | /docs/instruments/LT-102
PT-102 | Pressure Transmitter | Reactor 2 | Pressure Transmitter for Reactor 2 | XYZ Sensors | PT-101-67890 | Last Calibrated: 2023-02-20 | Operational | -- | /docs/instruments/PT-102
TT-102 | Temperature Transmitter | Reactor 2 | Temperature Transmitter for Reactor 2 | 123 Sensors | TT-101-98765 | Last Calibrated: 2023-03-10 | Under Maintenance | Calibration due soon | /docs/instruments/TT-102
FT-102 | Flow Transmitter | Reactor 2 | Flow Transmitter for HCL Flow to Reactor 2 | FlowTech | FT-101-54321 | Last Calibrated: 2023-01-30 | Operational | -- | /docs/instruments/FT-102
HSV-102 | Pneumatic On/Off Valve | Reactor 2 | Valve for HCL Dosing in Reactor 2 | ValveCo | HSV-101-13579 | Last Calibrated: 2023-02-15 | Operational | "Fail-Close" on power failure | /docs/instruments/HSV-102